## detectors_db
ID	Eljen Serial Num	Production date	Test Date	Length w/ guides [cm]	Size as cast [cm]	Size milled [cm]	Attenuation left	Attenuation right	FWHM One side time resol center[ps]	FWHM Time Resolution center [ps]	Time difference both ends (FWHM) [ns]	Light speed (FWHM) [cm/ns]	Muon rate left/min	Muon rate right /min	Landau width center Right [MeV]	FWHM Landau center Right [MeV]	Landau width center Left [MeV]	FWHM Landau center Left [MeV]	__
PLA001	12218-01-30	18 Feb 19	2 Apr 19	200,2		12,02	-7,8	9,19	388	878	24,57	14,65	1699	1699	1,4	6	1,3	5,7
PLA002	12218-01-54	3 Dec 19	8 Apr 19	200	11,8	12	-8,8	7,85	404	875	24,79	14,52	1687	1687	1,4	5,8	1,4	5,9
PLA003	12218-01-51	3 Dec 19	9 Apr 19	200,1	11,77	12	-7,8	9,06	409	873	24,79	14,52	1659	1659	1,5	5,7	1,5	6
PLA004	12218-01-49	3 Dec 19	10 Apr 19	199,8	12	12	-8,1	7,01	427	876	24,59	14,64	1682	1682	1,4	5,8	1,4	6,7
PLA005	12218-01-53	3 Dec 19	11 Apr 19	200,1	11,79	12	-8,2	7,97	411	879	24,78	14,53	1628	1628	1,3	5,3	1,3	4,4
PLA006	12218-01-58	3 Dec 19	11 Apr 19	200	11,69	12	-8,7	6,58	408	958	24,8	14,52	1528	1528	1,4	5,8	1,4	4,7
PLA007	12218-01-48	3 Dec 19	11 Apr 19	200,1	11,7	12	-6,8	9,27	397	917	24,78	14,53	1601	1601	1,3	6,1	1,4	6,4
PLA008	12218-01-55	3 Dec 19	12 Apr 19	200,1	11,7	12	-8,4	7,28	406	865	24,78	14,53	1604	1604	1,4	5,2	1,4	5,7
PLA009	12218-01-47	3 Dec 19	15 Apr 19	199,8	11,6	12	-9,6	7,58	445	912	24,62	14,62	1598	1598	1,3	5,9	1,2	5,9
PLA010	12218-01-42	3 Dec 18	15 Apr 19	199,9		12	-7,1	9,25	395	972	24,78	14,53	1701	1703	1,4	6,2	1,4	5,6
PLA011	12218-01-52	3 Dec 19	15 Apr 19	200	11,8	12	-8,1	7,3	425	889	24,6	14,64	1580	1580	1,4	5,3	1,4	5,5
PLA012	12218-01-25	18 Feb 19	16 Apr 19	199,8	11,7	12	-8,2	7,67	399	846	24,56	14,66	1594	1595	1,3	5,2	1,4	5,9
PLA013	12218-01-24	18 Feb 19	17 Apr 19	200	11,8	12	-8,3	8,35	418	883	24,56	14,66	1603	1603	1,3	5,3	1,4	5,3
PLA014	12218-01-22	18 Feb 19	17 Apr 19	200	11,5	12	-7	10,29	420	830	24,55	14,66	1603	1603	1,4	5,4	1,4	6
PLA015	12218-01-23	18 Feb 19	18 Apr 19	200,2	11,8	12	-7,5	8,28	514	979	24,57	14,65	1558	1558	1,4	6,6	1,4	5,4
PLA016	12218-01-26	18 Feb 19	18 Apr 19	200	11,7	12	-7,9	7,57	427	877	24,62	14,62	1585	1585	1,4	6	1,4	6,9
PLA017	12218-01-27	18 Feb 19	19 Apr 19	200,1	11,7	12	-9,7	8,64	381	892	24,76	14,54	1682	1719	1,4	5,9	1,3	5,3
PLA018	12218-01-21	18 Feb 19	23 Apr 19	200	11,7	12	-6,1	7,88	442	1006	24,69	14,58	1632	1632	1,4	5,8	1,3	6,3
PLA019	12218-01-28	18 Feb 19	24 Apr 19	200	11,8	12	-8,1	8,09	444	865	24,53	14,67	1619	1619	1,3	5,1	1,4	5,9
PLA020	12218-01-29	18 Feb 19	24 Apr 19	199,8	11,8	12	-8,5	8,4	477	886	24,56	14,66	1704	1704	1,4	5,8	1,3	5,7
PLA021	12218-01-60	3 Dec 19	25 Apr 19	200	11,7	12	-8,7	8,88	428	859	24,55	14,66	1660	1661	1,4	5,6	1,4	6,3
PLA022	12218-01-90	25 Mar 19	26 Apr 19	200		12	-6,6	6,92	450	889	24,55	14,67	1621	1621	1,3	5,1	1,3	4,8
PLA023	12218-01-62	25 Mar 19	26 Apr 19	199,9		12	-8,3	8,97	451	887	24,33	14,8	1621	1621	1,3	5,8	1,3	6,1
PLA024	12218-01-87	25 Mar 19	29 Apr 19	200,1	11,8	12	-7,1	6,55	508	839	24,56	14,66	1635	1635	1,4	6	1,4	6,1
PLA025	12218-01-89	3 Feb 19	29 Apr 19	199,9	11,8	12	-6,3	6,82	427	858	24,52	14,68	1553	1553	1,4	5,4	1,3	5,2
PLA026	12218-01-75	25 Mar 19	30 Apr 19	200	11,7	12	-6,9	8,59	437	795	24,52	14,68	1622	1622	1,4	6	1,5	6,1
PLA027	12218-01-78	25 Mar 19	30 Apr 19	200	12	12	-7,3	8,22	410	835	24,34	14,79	1651	1651	1,4	5,8	1,4	5,7
PLA028	12218-01-68	25 Mar 19	5 Feb 19	200	11,8	12	-7,8	8,84	436	901	24,59	14,64	1539	1539	1,4	5,1	1,4	6,5
PLA029	12218-01-63	25 Mar 19	5 Feb 19	200	11,8	12	-8	8,58	431	890	24,59	14,64	1660	1662	1,4	5,9	1,4	5,6
PLA030	12218-01-59	3 Dec 19	5 Mar 19	200		12	-8,4	8,07	444	930	24,61	14,63	1598	1598	1,4	6,1	1,5	6,5
PLA031	12218-01-61	25 Mar 19	5 Mar 19	199,9	11,8	12	-8,5	8,64	455	896	24,56	14,66	1620	1620	1,4	6	1,4	5,4
PLA032	12218-01-71	25 Mar 19	5 Jun 19	200	11,7	12	-7,6	7,84	425	880	24,57	14,65	1563	1563	1,4	6,8	1,4	6,1
PLA033	12218-01-91	25 Mar 19	5 Jun 19	200	11,7	12	-6,2	7,38	405	846	24,37	14,77	1625	1625	1,4	5,5	1,4	6,4
PLA034	12218-01-65	25 Mar 19	5 Jun 19	200,1	11,7	12	-8,6	8,23	410	866	24,59	14,64	1585	1586	1,4	5,2	1,4	5,5
PLA035	12218-01-64	25 Mar 19	5 Jun 19	200	11,9	12	-9,2	8,15	459	868	24,6	14,64	1638	1638	1,3	5,4	1,4	5,7
PLA036	12218-01-76	25 Mar 19	5 Jul 19	200		12	-8,4	7,9	411	933	24,53	14,67	1562	1562	1,3	6	1,3	5,8
PLA037	12218-01-77	25 Mar 19	5 Jul 19	200	11,7	12	-8,7	8,21	433	842	24,56	14,66	1645	1645	1,4	6	1,4	5,4
PLA038	12218-01-73	25 Mar 19	5 Aug 19	199,9	11,7	12	-8,8	7,79	423	931	24,54	14,67	1707	1707	1,4	6,4	1,4	5,3
PLA039	12218-01-72	25 Mar 19	9 May 19	200	11,8	12	-8,4	7,91	412	922	24,55	14,66	1632	1632	1,4	5,7	1,3	5,6
PLA040	12218-01-66	25 Mar 19	9 May 19	200	11,8	12	-8,6	7,99		884	24,58	14,64	1635	1635	1,4	5,9	1,4	5,7
PLA041	12218-01-67	25 Mar 19	10 May 19	199,9		12	-8,7	7,63	452	819	24,38	14,77	1634	1634	1,3	5,8	1,3	4,9
PLA042	12218-01-85	25 Mar 19	5 Oct 19	199,8	11,6	12	-8,3	8,37	435	906	24,59	14,64	1629	1629	1,4	6,2	1,3	5,3
PLA043	12218-01-79	25 Mar 19	5 Dec 19	200	11,8	12	-8,3	8,37	436	861	24,42	14,74	1540	1540	1,3	6,4	1,4	5,7
PLA044	12218-01-80	25 Mar 19	13 May 19	199,8	11,7	12	-7,5	8,55	440	856	24,38	14,76	1513	1513	1,4	5,5	1,4	5,2
PLA045	12218-01-86	25 Mar 19	13 May 19	199,9	11,8	12	-7,8	6,8	452	895	24,41	14,75	1523	1523	1,4	5,4	1,4	5,2
PLA046	12218-01-81	25 Mar 19	14 May 19	199,9	11,8	12	-8	7,72	460	876	24,4	14,75	1534	1534	1,3	6,6	1,4	6,2
PLA047	12218-01-88	25 Mar 19	14 May 19	199,7	11,6	12	-7,3	7,14	423	928	24,59	14,64	1548	1548	1,3	5,6	1,4	5,4
PLA048	12218-01-84	25 Mar 19	15 May 19	200	11,8	12	-8	7,24	428	906	24,59	14,64	1589	1589	1,4	5,7	1,3	5,6
PLA049	12218-01-83	25 Mar 19	15 May 19	200	11,6	12	-7,6	7,54	412	872	24,37	14,77	1567	1567	1,4	5,4	1,4	5,3
PLA050	12218-01-74	25 Mar 19	16 May 19	200	11,6	12	-7,2	9,08	435	764	24,58	14,64	1543	1543	1,5	6,2	1,5	6,5
PLA051	12218-01-82	25 Mar 19	16 May 19	199,9	11,8	12	-7,9	7,14	436	838	24,58	14,65	1640	1640	1,5	6	1,4	7,2
PLA052	12218-01-12	2 Nov 19	17 May 19	199,8	11,7	12	-8,2	6,99	456	942	24,53	14,67	1646	1646	1,4	5,5	1,5	6,2
PLA053	12218-01-06	2 Nov 19	20 May 19	200	12	11,8	-7,8	8,65	442	938	24,61	14,63	1682	1682	1,5	5,1	1,5	6,3
PLA054	12218-01-10	2 Nov 19	20 May 19	199,8	11,8	12	-7,7	7,26	432	961	24,52	14,68	1584	1584	1,5	5	1,4	4,5
PLA055	12218-01-07	2 Nov 19	21 May 19	199,8	11,89	12	-7,9	8,18	374	825	24,57	14,65	1674	1674	1,4	6,9	1,4	6
PLA056	12218-01-11	2 Nov 19	21 May 19	200,1	11,7	12	-8	7,67	396,7	919	24,54	14,67	1544	1544	1,4	5,7	1,3	6,2
PLA057	12218-01-13	2 Nov 19	22 May 19	200	11,7	12	-7,2	7,93	448	874	24,57	14,65			1,4	4,7	1,3	5,5
PLA058	12218-01-01	2 Nov 19	23 May 19	200	11,5	12	-7,6	6,44	393	909	24,61	14,63	1585	1585	1,4	5,8	1,4	5,8
PLA059	12218-01-04	2 Nov 19	23 May 19	200	11,7	12	-8,7	7,82	453	891	24,42	14,74	1607	1607	1,3	5,6	1,4	5,9
PLA060	12218-01-03	2 Nov 19	24 May 19	199,9	11,6	12	-7,9	7,55	389	873	24,71	14,57	1598	1599	1,4	6,5	1,5	5,8
PLA061	12218-01-14	2 Nov 19	24 May 19	160	11,5	12	0	0				0			0		0
PLA062	12218-01-57	3 Dec 19	27 May 19	200	12	12	-7,2	8,66	472	867	24,62	14,62	1584	1584	1,3	5,1	1,3	4,8
PLA063	12218-01-46	3 Dec 19	23 Apr 19	200	11,7	12	-8,2	8,77	415	828	24,6	14,63	1579	1579	1,4	6,1	1,4	5,6
PLA064	12218-01-45	3 Dec 19	28 May 19	200	11,9	12	-8	8,59	407	883	24,6	14,63	1605	1605	1,2	5,8	1,3	5,4
PLA065	12218-01-44	3 Dec 19	28 May 19	200	11,7	12	-8,8	8,81	477	900	24,6	14,63	1577	1577	1,4	5,6	1,4	5,4
PLA066	12218-01-43	3 Dec 19	29 May 19	200	11,7	12	-7,5	9,34	410	924,4	24,58	14,64	1566	1566	1,4	6,5	1,4	6,1
PLA067	12218-01-56	3 Dec 19	29 May 19	200,1	12	11,7	-8,4	7,58	399	882	24,67	14,59	1583	1583	1,3	5,9	1,4	5,6
PLA068	12218-01-41	3 Dec 19	31 May 19	199,9	11,7	12	-7,7	8,53	394	879	24,75	14,55	1537	1537	1,4	5,9	1,3	5,7
PLA069	12218-01-50	3 Dec 19	31 May 19	200,1	11,9	12	-6,9	8,62	411	914	24,6	14,64	1570	1570	1,4	6,8	1,4	6,2
PLA070	12218-01-70	13 Mar 19	6 Jan 19	200	11,7	12	-9,2	7,71	434	927	24,59	14,64	1573	1573	1,4	5,3	1,4	6
PLA071	12218-01-69	13 Mar 19	6 Feb 19	200	11,7	12	-9	7,97	406	950	24,63	14,62	1633	1633	1,4	5,7	1,4	5,7
PLA072	12218-01-09	2 Nov 19	6 Mar 19	199,9	11,6	12	-6,8	7,83	440	974	24,63	14,62	1554	1554	1,4	5,9	1,4	4,2
PLA073	12218-01-20	2 Nov 19	6 Mar 19	200	12	12	-7,9	9,33	466	874	24,6	14,63	1667	1667	1,4	6,3	1,3	6,2
PLA074	12218-01-19	2 Nov 19	6 Apr 19	200	11,7	12	-7,8	8,75	450	872	24,58	14,65	1593	1593	1,4	4,9	1,4	6
PLA075	12218-01-??	2 Nov 19	6 Apr 19	200	11,8	12	-8,1	9,49	404	897	24,63	14,61	1648	1649	1,4	6	1,4	6,5
PLA076	12218-01-17	2 Nov 19	6 May 19	200	11,7	12	-7,3	8,29	475	879	24,6	14,63	1638	1638	1,4	5,7	1,4	6,4
PLA077	12218-01-15	2 Nov 19	6 Jun 19	199,9	11,6	12	-8	7,71	451	858	24,45	14,72	1648	1648	1,4	5,5	1,3	5,5
PLA078	12218-01-02	2 Nov 19	6 Jul 19	200,1	12	11,7	-7,6	6,59	408	916	24,59	14,64	1750	1750	1,5	5,3	1,4	5,5
PLA079	12218-01-16	2 Nov 19	6 Jul 19	200,1	11,5	12	-8,4	9,64	406	909	24,64	14,61	1608	1608	1,3	6,3	1,3	6,1
PLA080	12218-01-08	2 Nov 19	6 Nov 19	200	11,8	12	-8	8,42	405	921	24,58	14,65	1578	1578	1,3	7,1	1,3	6
PLA081	12218-01-05	2 Nov 19	6 Nov 19	199,9	11,8	12	-8	7,18	425	850	24,43	14,74	1648	1648	1,4	6,2	1,4	6,6
PLA082	12218-01-36	18 Feb 19	6 Dec 19	200	12	12	-8,2	8,19	382	884	24,43	14,74	1599	1599	1,4	6,1	1,4	6,2
PLA083	12218-01-40	18 Feb 19	6 Dec 19	200,1	11,6	12	-8,1	8,43	408	846	24,63	14,62	1658	1659	1,4	6,1	1,5
PLA084	12218-01-39	18 Feb 19	13 Jun 19	199,9	11,7	12	-7,9	8,66	430	947	24,58	14,64	1565	1565	1,3	5,9	1,3	4,9
PLA085	12218-01-38	18 Feb 19	13 Jun 19	200,1	11,7	12	-8,7	8,46	423	837	24,64	14,61	1604	1605	1,3	4,8	1,3	4,7
PLA086	12218-01-37	18 Feb 19	14 Jun 19	160	11,7	12	-7,8	7,71	468	911	24,62	14,62	1592	1592	1,4	5,5	1,4	6,4
PLA087	12218-01-31	18 Feb 19	14 Jun 19	200	11,7	12	-7,9	9,88	430	870	24,43	14,73	1582	1582	1,3	6,3	1,3	6,3
PLA088	12218-01-32	18 Feb 19	17 Jun 19	200	11,6	12	-8,9	8,11	439	935	24,8	14,52	1568	1568	1,39	5,4	1,4	6,3
PLA089	12218-01-33	18 Feb 19	18 Jun 19	199,9	11,7	12	-9,1	8,79	405	903	24,62	14,62	1597	1598	1,4	5,9	1,4	5
PLA090	12218-01-34	18 Feb 19	19 Jun 19	200	11,8	12	-8,2	9,08	442	924	24,6	14,64	1604	1604	1,4	6	1,4	5,6
PLA091	12218-01-35	18 Feb 19	20 Jun 19	200	11,7	12	-8,1	9,26	438	917	24,62	14,62	1581	1581	1,4	5,7	1,4	5,9